# Questions and Comments regarding submission of NSF/BSI UV data to WOUDC

As you can tell, my comments are added after each bullet

- Filename of spectral data:
I chose yyyymmdd.Model.Number.NSF.csv, for example:
19961115.SUV-100.3.NSF.csv
Please let me know if this is OK. For example should I include “Biospherical” between date and Model?
You can name the files any way you like …we rename them here to our standard format.

- Header field “Level” (part of “#CONTENT”)
I chose “2.0” for our “Version 2” data because they are spectrally regridded. Version 2 data is not available for San Diego and I will submit our “Version 0” data to WOUDC. So the “Level” for San Diego will be “1.0”
Please use level=1.0 which is WOUDC nomenclature. You can certainly add a comment below the table to indicate what it means in NSF-Biospherical nomenclature

- Header field “Form” (part of “#CONTENT”)
I don’t quite know what the header field “Form” is used for. I chose “1.”  Please let me know if this should be changed.
Correct.  Form=1 refers to the existing set of SPECTRAL tables and fields.  If more tables are added and more fields to existing tables, then Form=2.  This is to assist in the file reading (decoding).  It is mostly for programming

- Header field “Date” (part of “#DATA_GENERATION”)
I chose the date when our “Version 2” data were generated, not the date when they were converted to WOUDC format. Please let me know if this should be changed.
This is fine.

- Header field “Version” (part of “#DATA_GENERATION”)
This will be “2.0” for our “Version 2” data and “0.0” for our “Version 0” data (San Diego only)
When we spoke, I think I mentioned that this sounds like our data “level”.  In this example, you canuse what value you wishbecause as the data originator you ultimately dictate what versiosn you are submitting.  However, if you re-submit your data, what version would it be?  To the WOUDC version is our tracking mechanism, for the various versions (of the same data set) that we have received

- Header field “ID” (part of “#PLATFORM”)
The ID assignment is from the OMI dataset available at http://avdc.gsfc.nasa.gov/index.php?site=1593048672&id=28
The ID here is specific to WOUDC.   It appears, where applicable. NASA has used the same ID as the WOUDC in most cases except where platforms do not exist at the WOUDC.  Palmer has been assigned the number 292

- Header field “GAW_ID” (part of “#PLATFORM”)
The GAW_ID assignment is from: http://gaw.kishou.go.jp/wdcgg/products/cd-rom/cd_01/DATA/STATION.DAT, http://www.wmo.int/pages/governance/ra/documents/1011_E.pdf and http://weather.gladstonefamily.net/cgi-bin/location.pl/pjsg_all_location.txt

I am not sure whether ID and GAW_ID assignments are correct. Please double-check. Here is more information on the values chosen for “#PLATFORM”):
This is an old number used by the WMO World Weather Watch system.  I sort of inherited it when I took over the data centre duties.  So if your sites have a WWW number, this would be the one you would use

| Site | ID | Name | Country | GAW_ID | Remarks |
| --- | --- | --- | --- | --- | --- |
| McMurdo | 268 | ARRIVAL HEIGHTS / MCMURDO | ATA | 89664 | The ID for McMurdo is actually 689. I chose 268 for Arrival Heights, where the instrument is actually located. Arrival Heights is about 4 km from McMurdo at 183 m altitude whereas McMurdo is at sea level. The GAW_ID refers to McMurdo |
| Palmer | 292 | PALMER STATION | ATA | 89061 |  |
| South Pole | 111 | AMUNDSEN-SCOTT SOUTH POLE | ATA | 89009 |  |
| Ushuaia | 339 | USHUAIA | ARG | 87938 | GAW_ID refers to GAW station close to the airport at Ushuaia, which is about 3 km away from the instrument. |
| San Diego | 239 | SAN DIEGO | USA | 72290 | GAW_ID refers to airport of San Diego (Lindberg Field), which is about 4km south of the instrument location |
| Barrow | 199 | BARROW | USA | 70026 |  |
| Summit | 799 | SUMMIT | GRL | 04416 | I will have to register this new station and assign it a WOUDC ID |

- Header field “Longitude” (part of “#LOCATION”)
I assumed that West is negative
Correct.  We use Royal Nautical usage of North and East as positive

- #TIMESTAMP
All our data are in UTC, so UTCoffset is always +00:00:00
Perfect!

- #GLOBAL_SUMMARY
I noticed that some Brewer data have this table. So I did something similar. I included the fields:
Filename, Volume, SZA, Azimuth, Sky_condition,
Minimum_useable_wavelength, E290-320, E320-400, UVIndex
You can find more on these fields in the attached file “Description_DB3.pdf.” Note that our irradiance data are reported in units of uW/cm2. So I multiplied E290-320 and E320-400 with 0.01 to convert to W/m2. It would be easy to include additional data products described in “Description_DB3.pdf.” Let me know if I should do so. Also, in my example, I chose 320 nm as the limit between UV-B and UV-A. Let me know if you prefer 315 nm.
I will hold off opinion on this for now.  Vitali is away and I would want his input. I think if you use this table I would recommend using the exiting structure, otherwise perhaps create a new table for the additional fields?  What you think about this idea?

- Comments (*)
Some spectra are flagged for inferior quality, and the reason is given in Version 2 databases. I have included those “flags” in my example database between #TIMESTAMP and #GLOBAL_SUMMARY

- #GLOBAL
Irradiance is reported in units of W/(m2 nm)Good
Time is reported in the format: hh:mm:ss.ss where ss.ss is seconds and fraction of seconds. I chose this format because the instrument measurements several wavelengths per seconds and I like to have a unique time stamp. Please let me know if this is not acceptable and I will round to hh:mm:ss.
We only use rounded values …so time in the traditional IOS form of hh;mm;ss should suffice.