ANNEX I	2

ANNEX III	3

TREND ANALYSIS	3

Seasonal issues	5

Seasonal weighting	6

Autocorrelation	6

Trend term	6

Effect of neglecting solar, QBO and other terms.	7

References	8

# ANNEX I

The review of the total ozone records and re-evaluation has been based on calibrations and comparisons in accordance with the internationally agreed procedures (WMO, 1993). The process of establishing a highly reliable quality of total ozone data consists of two phases: (a) thorough review of the quality of the deposited data in order to reveal any discrepancies and (b) re-evaluation of the data based on calibrations carried out by the stations. The final phase of the quality review was coupled for the records of all 14 stations known to have taken Umkehr for a long time. These were:

Belsk(068)		Sapporo(012)	Boulder(067)		Cairo(152)

Arosa(035)		Tateno(014)		Aswan(245)		New Delhi(010)

OHP (040)		Kagoshima (007)	Perth (159)		Poona (187)

Naha(190)		Mauna Loa(031)

The review of the quality revealed that even within the records of few of the stations, whose operators have followed the Ozone Commission and WMO recommendations and have re-evaluated their total ozone, (Belsk up to 1989, Japan up to 1992), there were some substantial discrepancies which needed to be clarified in direct contact with the operators. Furthermore it is only one of the 14 stations (Belsk), which has alone repeated the Umkehr retrieval using the newly re-evaluated total ozone data. During the last phase of the re-evaluation more complicated information was acquired from stations directly. Nevertheless during the last year (1999) of REVUE all of the above listed station records were re-evaluated. The derived monthly differences between the total ozone reported at the time of the Umkehr measurement and the re-evaluated values have been made available for new Umkehr retrieval.

Due to lack of any calibration data before 1975 from the Indian stations (New Delhi, Poona, Varanasi) a reasonable re-evaluation was done for the period 1975-1994. Although there are 1693 Umkehr measurements before 1975 a provisional re-evaluation was not attempted and is not desirable due to lack of calibration data. Most of the records of the 4 Japanese stations (Sapporo, Teteno, Kagoshima, Naha) were re-evaluated and only a small number of additional corrections (already identified during REVUE) were introduced. Stations Cairo and Aswan have re-deposited evaluated data for both total ozone and Umkehr profile information thus providing a very credible data set for the latitudes.

# ANNEX III

## TREND ANALYSIS

Before one subject the re-evaluated and quality controlled Umkehr profiles derived by the 1998-DeLuisi algorithm to a final trend analysis it was necessary to carry out some analysis of existing both ozonesonde and Umkehr data referring to natural variability and interrelationship with the total ozone. These were necessary in order to establish a background information which to assist selection of better statistical approach.

On Figure A is plotted an annual cross-section of the relative variability of the ozone partial pressure deduced from few thousand ozonesondes launched in Hohenpeissenberg. It is clear that immediately above the tropopause (Layer 2) the relative variability exceeds 55% (up to 70 % in Winter-Spring) and this should be kept in mind when grouping the layers for the trends.

On Figure B is plotted an annual cross-section of the correlation coefficients between variability of the total ozone and the ozone partial pressure from Umkehr observations taken at Arosa. They show that the changes in the Umkehr Layers between 13 and 19 Km is exceeding even .90; the correlation is insignificant and negligible in the transition layer V.

Now let us turn to the desirable quality of the statistical model. A wide variety of statistical models have been used to derive trends in stratospheric ozone and to determine the effects on ozone of other variables such as the solar cycle and the quasi-biennial oscillation (QBO). The 1989 Assessment (WMO, 1990, Chapter 2) contained brief inter-comparison results of a few of these statistical model It was found that variations in the statistical model or in the ancillary variables used (solar, QBO, nuclear effect) had relatively minor effects on the calculated ozone trend, at least for total ozone. However, when different research Groups derive different trends, questions continue to arise as to how much of the difference in the trends or standard errors is due to differences in data used, and how much is due to the differences  in the statistical model calculations. Therefore for REVUE we should follow some of the best, tested already in the scientific analysis, models briefly summarised below. For some additional discussion of the terms and statistical issues, see Bojkov et. Al. (1990)

Let yi represent monthly ozone values far one of the test series; in some cases yi is missing for some months, and this is addressed in the notes below. The statistical model for yi is of the form:

yi = (Monthly mean) + (Monthly trend) + (Solar effect) + (QBO effect) + Noise

or more precisely,

yi=ι=112μιΙι:t+ι=112βιΙι:tRt+γ1Ζ1:t+γ2Ζ2:t+Nt

with the definitions:

μ:	ozone mean in month i, i = 1…..12

Ιi;t	Indicator series for month i of the year; i. e., 1 if the month corresponds to month i of the year, and 0 otherwise

βi	Trend in Dobson units/year in month i of the year.

Rt	Linear ramp function measuring years from the first month of the series; equal to (t-to)/12. For series beginning before 1970, it is often taken to be a ramp function equal to zero for t<to, where to corresponds to 12/69; and then (t-to)/12 for t>to.

Ζ1;t	Solar 10.7 cm flux series, with ã1 the associated coefficient

Z2;t	QBO series lagged some appropriate number of months (latitude and altitude dependent), with ã2 the associated coefficient.

Nt	Residual noise series

Although this is the underlying model used in most advanced studies, a variety of statistical model issues are handled differently by different researchers, or even by the same researcher depending upon data features, for example if the proportion of missing data is very high. The following notes illustrate some of the frequent  differences, but are not intended to be exhaustive, especially on minor issues.

FIGURE A

FIGURE B

### Seasonal issues

Ozone trends are sometimes reported on a monthly basis, but it has become common to tabulate the trends on an seasonal basis. Common seasons are Dec…Feb, Mar…May, Jun...Aug, Sep...Nov plus year round, but others following the nature annual cycle of the middle latitudes zone, have been used for example Dec...Mar, Apr, May...Jul, Sep...Nov). To calculate seasonal trends from a monthly model, one averages the monthly trends over the months on each season. If percentage trends are desiredone approach is to calculate these from the average ozone trends in each season divided by the average ozone intercept (ìi) for the months in that season; other groups divide by the mean value for that season over the period of the time series (also, occasionally averages of monthly percentage  trends have been calculated)

Proper calculation of the standard errors of seasonal trends when a monthly model is used requires use of the covariance matrix of the trend estimates. This is particularly important when an autocorrelated noise model is used, and if disregarded, may lead to serious underestimates of the standard errors of seasonal trends because the average of, for example, Dec, Jan, Feb trend estimates, does not represent the average of three independent quantities.

Sometimes seasonal model is fit with only four seasons by explicitly working with quarterly data (using Q1=Dec….Feb, e.t.c.). A variation on this when data is sparse is to fit 12 monthly means, but only for quarterly trends. In this case the standard errors are handled automatically, except for the year round trend.

Sometimes too, the seasonal mean and/or the seasonal trends will be treated as the sum of sine and cosine harmonics, with the higher order terms dropped if not statistically significant. This is almost necessary if one models daily or weekly data, and has also been used to reduce the number of terms in the model when the solar or QBO terms are treated on a seasonal basis.

Seasonal trends can also be calculated by fitting multiple regression models separately for each month or for each season, using time and ancillary variables as predictors. This automatically handles seasonal weighting (see note 4 below), but allows the solar and QBO coefficients to be different in each month or season. If done by season (quarterly ozone values), this approach automatically handles the autocorrelation issue for the standard error for the seasonal trend. It may cause problems when data is consistently missing for a specific month.

### Seasonal weighting

Ozone is more variable in the winter than in the summer, and application of monthly or seasonal weights in the regression analysis accounts for this. This will have the effect of increasing the standard error of the ozone trend estimates for the high variability months, while decreasing them for the low variability months, compared to an ordinary unweighted analysis. Initial weights are usually chosen inversely proportional to individual monthly ozone variances, and then updated from the residuals of an initial regression fit. This can be iterated to convergence if desired, although using only one or two iterations leads to essentially the same results. When autoregressive models are fit, the monthly or seasonal weights can be applied to the noise Ni, series of the uncorrelated et series with nearly identical results, and the choice is reasonably made based on computational convenience.

### Autocorrelation

For many ozone series, especially total ozone, the noise term Ni is autocorrelated, i.e. Nt plotted against Nt-1 will show a substantial correlation. This is due to dynamic or other effects not explicitly accounted for in the statistical model. This has usually been accounted for by allowing Nt to be an autoregressive series of order 1, i.e., AR(1) model, (although occasionally higher order autoregressive series have been used):

Nt = öNt-1 + et

where et is an uncorrelated series.

Properly accounting for an autocorrelated noise series normally changes the trend estimated by little, but leads to larger standard errors of the trend estimates than ordinary least squares. This is particularly important for seasonal and year round trend estimates produced by averaging monthly estimates, as discussed above.

Computations for fitting regression model with autocorrelated errors usually follow a conditional least squares approach (conditional on the first observation in the case of an AR(1) model ) or, preferably, unconditional least squares or maximum likelihood (see, for example, Box, Jenkins and Reinsel, 1994). These calculations are programmed into some statistical packages, although not all can well handle internal missing data values. Some researchers use their own Fortran routines to perform maximum likelihood calculations.

### Trend term

For data series beginning after 1970, the trend term Rt is taken to be a linear function of time, with the zero point normally the first available data point. For series which extend back into the 1960’s or earlier, a “hockey stick´trend has commonly been used: a ramp function which is zero up to (usually) 12/69, and then linear with time thereafter. This was originally designed to approximate expected ozone depletion from emissions was originally designed to approximately expected ozone depletion from emission of CFC’s. In the 1994 Ozone Assessment (WMO, Ozone report #37, 1995), a “double jointed hockey stick“ was used to estimate differences in trends in the 1970’s Vs the 1980’s. It is also possible to use the predicted effect of chlorine driven depletion from photochemical models, although this has disadvantage of changing as the chemical models are improved.

A few researchers continue to use 12/69 as the zero point for the trend term Rt even for series that begin later. This does not affect estimated trends in ozone, but does affect the intercepts, ìé, and therefore also affects percentage trends for those researchers who use the intercepts, rather than the monthly or seasonal mean, as the base for percentage trends (usually only slightly unless the trends themselves are large.)

### Effect of neglecting solar, QBO and other terms.

Finally one important question is how the inclusion or neglect of the solar, QBO and other terms in the statistical models influences the derived trend and standard error estimates (i.e. how sensitive are the trend results to details of other model terms?).

Detailed changes in standard error would likely be sensitive to location (such as the equator, where the QBO component is relatively important). However, the overall conclusion is that the trend results are relatively insensitive to inclusion of other terms in the statistical models. This is probably due to the fact that the time series are sufficiently long compared to the 11-year solar cycle and ~2 years QBO periodicity. A similar insensitivity of trend results is found concerning the inclusion or neglect of data during the El Chichon and/or Pinatubo time periods (for data through 1997, as will be used throughout much of REVUE. The episodic influence of volcanic events will only have a strong effect on trend if they occur at either extreme end of the time series.

# References

Mateer, C.L. and J.J. DeLuisi, A new inversion algorithm, J.Atm. And Terr. Phys., 54, 537-556, 1992

J.J. DeLuisi, Personal communication - Presentation in the kick off meeting for REVUE, Paris, FRANCE 1996

Bojkov R. et. al. Re-evaluation of total ozone records. WMO Ozone Report No. 29, 1993

DeLuisi, J.J., I.V. Petropavlovskikh, C.L. Mateer, An Evaluation of the Uncertainties in Estimating Stratospheric Aerosol Errors to Retrieved Umkehr Ozone Profiles, Proceedings from the XVIII Quadrennial Ozone Symposium in L’Aquila, Italy, ed. by R. Bojkov and G. Visconti, p.115-118, 1997.

Miller, A.J., L.E. Flynn, S.M. Hollandsworth, J.J. DeLuisi, I.V. Petropavlovskikh, G.C. Tiao, G.C. Reinsel, D. J. Wuebbles, J. Kerr, R.M. Nagatani, L. Bishop, and C.H. Jackman, Information content of Umkehr and solar back-scattered ultraviolet (SBUV) 2 satellite data for ozone trends and solar responses in the stratosphere, J. Geophys. Res., 102, D15, 19,257-19,263, 1997.

Petropavlovskikh, I.V., B. Herman, R. Lougman, P. K. Bhartia, C. L. Mateer,  J. Lenoble, Y. Belikov, A Comparison of Radiance Calculations by Spherical Atmosphere Radiation Transfer Codes for Modeling the Umkehr Effect, Proceedings from the XVIII Quadrennial Ozone Symposium in L’Aquila, Italy, ed. by R. Bojkov and G. Visconti, p. 163-166, 1997.

Petropavlovskikh, I.V., L. Flynn, J. DeLuisi, P.K. Bhartia, A Critical Look at the Capabilities of the Umkehr and SBUV for Ozone Information Below 20 km, Proceedings from the XVIII Quadrennial Ozone Symposium in L’Aquila, Italy, Ed. by R. Bojkov and G. Visconti, p. 159-162, 1997.

Petropavlovskikh, I. V., J. J. DeLuisi, R. Loughman, B. Herman, J. Lenoble, Y. Belikov, A Comparison of UV Intensities Calculated by Spherical-Atmosphere Radiation Transfer Codes: Implications for Improvement to the Umkehr Method, in review, JGR, 1999a

Petropavlovskikh, I. V., J. DeLuisi, D. Theisen, L. Flynn, B. Chu, Investigation of Systematic and RMS Differences Among Ozone Profiles Observed by the Umkehr, SBUV, and SAGE, in review, JGR, 1999b

Petropavlovskikh, I. V., J. DeLuisi, D. Theisen, R. Bojkov, P.K. Bhartia, Detection of Shifts in the Umkehr N-value Radiance Records, submitted to JGR, 1999c

I.Petropavlovskikh, John J. DeLuisi, David Theisen, Rumen D. Bojkov and E. Kosmidis. "Detection of Shifts in the Umkehr N-value Radiance Records" by (1999, GRL, in press).

McPeters et. Al.